| Schedule of Inspections for temporary electrical distributions |
| --- |
| Methods of protection against electric shock | General |
| ☐ | SELV | ☐ | Presence and correct location of appropriate devices for isolation and switching |
| ☐ | Electrical separation for one item of current using equipment | ☐ | Presence of barriers or enclosures to prevent unauthorised access |
| ☐ | Electrical separation for more than one item of current using equipment | ☐ | Presence of warning notices and labels for functional operating |
| ☐ | Insulation of live parts | ☐ | Adequacy of access to switchgear and other equipment |
| ☐ | Barriers and enclosures | ☐ | Additional protective measures for special locations |
| ☐ | Double or reinforced insulation | ☐ | Correct connection of equipment |
| ☐ | Additional protection by RCDs with appropriate settings and operating times | ☐ | Evidence of formal inspection and testing for equipment |
|  |  | ☐ | Evidence of formal inspection and testing for mobile/transportable units and other facilities |
| Automatic Disconnection of supply | Cables and conductors |
| ☐ | Presence of earthing conductor | ☐ | Selection of cables for current carrying capacity and voltage drop |
| ☐ | Presence of circuit protective conductors | ☐ | Erection methods |
| ☐ | Presence of protective bonding conductors | ☐ | Routing of cables |
| ☐ | Presence of supplementary bonding conductors | ☐ | Mechanical protection provided where required |
| ☐ | Presence of earthing arrangements for combined functional and protective purposes | ☐ | Segregation of Band I and Band II circuits or Band II insulation used. |
| ☐ | Choice and setting of protective devices for both fault and overcurrent protection |  |  |
| Fire and Safety | Environmental factors |
| ☐ | Presence of adequate safety services | ☐ | Prevailing and forecast weather considered in the design |
| ☐ | Fire barriers and seals | ☐ | Equipment protected against prevailing conditions. |
|  | Inspected by: Click here to enter text. | Date: Click here to enter a date. |
|  | Notes: To indicate a result is satisfactory; To indicate a result is not satisfactory N/A To indicate the inspection is not applicable to that item |

www.eade.uk.com